VOLUME 4.2

FINANCIAL OFFER TEMPLATES

Lot 1: Creation of additional museum spaces for cultural and educational activities in City Museum of Kriva Palanka.

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

<The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions:

For example: through the measurement of the percentage of works carried out in relation to the firm quantities of each item of the breakdown of the lump-sum price and by applying that percentage to the lump-sum price of the related item>

For example: by the tranches specified in Article 49(1)(a) of the special conditions>.

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

|  | Lot. 1. CREATION OF ADDITIONAL MUSEUM SPACES FOR CULTURAL AND EDUCATIONAL ACTIVITIES IN CITY MUSEUM OF KRIVA PALANKA. |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | GROUND FLOOR ARRANGEMENT of the courtyard at the City Museum, Kriva Palanka Municipality |  |  |  |  |
| Item | DESCRIPTION OF ACTIVITIES | unite | Unit price | Firm quantities | Lump-sum price EUR without VAT |
|  | - PREPARATORY WORKS |  |  |  |  |
| 1.1 | Marking and insurance of the field | m² |  | 157.40 |  |
| 1.2 | Demolition and removal of the existing concrete substrates in the yard - lower plateau with removal of the waste material to a landfill determined by the developer | m² |  | 69.20 |  |
| 1.3 | Dismantling part of the existing candelabra and storing them in a place determined by the developer | piece |  | 3.00 |  |
| 1.4 | Removal of the existing “becaton” blocks on the upper part of the field and removal of the “becaton” cladding blocks from the access stairs, with removal to a place determined by the developer. | m² |  | 125.70 |  |
| 1.5 | Demolition of an existing planter made elements of “becaton” and filled out with earth, to the place where the new access stairs will be. | m³ |  | 7.50 |  |
| 1.6 | Dismantling of an existing tap in the yard with storage to a place determined by the developer. | piece |  | 1.00 |  |
| 1.7 | Demolition of existing stone stairs together with a stone wall with removal of the waste material to a place determined by the developer. | m³ |  | 8.00 |  |
|  | II. GROUND FLOOR WORKS |  |  |  |  |
| 2.1 | Excavation of the ground for the construction of the amphitheatre, with the removal of the material to a place determined by the developer. D=40 cm | m³ |  | 13.53 |  |
| 2.2 | "For lower plateau: Mechanical excavation of the ground with a depth of 40 cm for placing new layers for soil treatment at the lowest level at the entrance of the building. | m³ |  | 49.66 |  |
|  | III. REINFORCED CONCRETE WORKS |  |  |  |  |
| 3.1 | Procurement, transportation and installation of a crushed stone buffer with a thickness of d=20 cm, to the required compaction, as a base for a slab for lower plateau. | m³ |  | 22.40 |  |
| 3.2 | Procurement, transport and placement of lean concrete d=10cm as a base for a new AB slab. | m³ |  | 11.20 |  |
| 3.3 | Procurement, transportation and placement of a reinforced concrete slab d=15cm on the ground of the lower plateau, suitably reinforced with reinforcement Q188. | m³ |  | 16.80 |  |
| 3.4 | "For amphitheatre: Procurement, transport and placement of buffer material under the foundations and the slab for the amphitheatre d=30cm | m³ |  | 13.53 |  |
| 3.5 | Procurement, transport and placement of buffer material under the foundations and the slab for the amphitheatre d=30cm" | m³ |  | 4.51 |  |
| 3.6 | Procurement, transport and placement of lean concrete under the foundations and the slab of the amphitheatre d=10cm | m³ |  | 35.60 |  |
|  | IV. GROUND WORKS AND URBAN EQUIPMENT |  |  |  |  |
| 4.1 | Procurement, transportation and installation of “bechaton” cubes for the upper plateau with dimensions of 10/20/6 cm with filling of the joints with fine sand. | m² |  | 58.70 |  |
| 4.2 | Procurement, transport and installation of small park curbs for paths 6x20x100 cm. (with excavation and placement of MB20) They are placed around the paths, around the children's playground and on the side of the sidewalk/street. | m1 |  | 28.00 |  |
| 4.3 | Covering the head of small stairs with granite slabs, final rough treatment with d=2cm H=15 cm. | m² |  | 5.50 |  |
| 4.4 | Covering at the head of access stairs on the side of the road with granite slabs, final rough treatment with d=2cm H=13 cm. | m² |  | 5.00 |  |
| 4.5 | Covering the base of small stairs with granite slabs finishing rough treatment and edged side with l=3cm W=28cm The position includes the stairs from the amphitheatre and the access stairs from the road. | m² |  | 18.50 |  |
| 4.6 | Covering at the head of the Grand Staircase with granite slabs, rough finishing with d=2cm H=45cm (seating amphitheatre) | m² |  | 19.30 |  |
| 4.7 | Covering the base of grand stairs with granite slabs, rough finish and edged side with L=3cm W=88cm (seating amphitheatre) | m² |  | 38.00 |  |
| 4.8 | Covering the base on concrete superstructure - parapet on the top of the amphitheatre with granite slabs, rough finishing and edged side with L=2cm W=50cm on the sides and L=2cm W=34 on the top side | m² |  | 14.50 |  |
| 4.9 | Fabrication and installation of a yard fence made of box steel profiles 50.50-stops, 50.30-horizontal and 20.20-full placed vertically at a mutual distance not greater than 100mm. (106 total distance from post to post.) H=180 The fence is mounted on a pre-installed metal rail on the base, on the underside of the 50.50 posts, bearings/wheels are placed that rest on the rail, while at each post-to-post junction of the 50.50 privileged posts, hinges are placed so that the fence can be assembled after zig zag pattern along the rail. The fence is miniaturized and painted with a standard colour chosen by the developer. All profiles on the upper side are closed with caps. | piece |  | 8.00 |  |
| 4.10 | Fabrication and installation of a yard fence made of box steel profiles 50.50-stops, 50.30-horizontal and 20.20-full placed vertically at a mutual distance not greater than 100mm. (106 total distance from post to post.) H=180 The fence is mounted on a pre-installed metal rail on the base, on the underside of the 50.50 posts, bearings/wheels are placed that rest on the rail, while at each post-to-post junction of the 50.50 privileged posts, hinges are placed so that the fence can be assembled after zig zag pattern along the rail. The fence is miniaturized and painted with a standard colour chosen by the developer. All profiles on the upper side are closed with caps. | m1 |  | 5.00 |  |
|  | Making a fence for the stairs (one leg from the amphitheatre and the access stairs from the street), from box steel profiles 50.50-stopbov, 50.30-horizontal and 20.20-full. The main 50.50 pillars are placed on each stepped staircase one by one. Height 90 cm to handle. | m1 |  | 8.00 |  |
| 4.11 | Incorporation of humus soil for lawn 10 cm. | m³ |  | 6.98 |  |
| 4.12 | Planting grass for the park. | m² |  | 69.83 |  |
| 4.13 | Planting seedlings medium low foliage | piece |  | 35.00 |  |
|  | V. PLUMBING AND SEWERAGE |  |  |  |  |
| 5.1 | "Manual excavation of a trench for water supply (from an existing shaft to the tap for drinking water, for the installation of a PE hose F40, with dimensions of depth 0.80 cm and width 0.25 cm, (0.8x0.25x6) | m³ |  | 1.20 |  |
| 5.2 | Procurement, transport and installation of a PE hose (F40) for water supply from the shaft from the tap for drinking water. The PE hose is placed in a protective pipe F63, as it will pass under the newly designed stairs. | m1 |  | 6.00 |  |
| 5.3 | Manual backfilling of the trench with earth from the excavated material | m³ |  | 6.00 |  |
| 5.4 | Manual excavation of a drain trench for PVC pipes, F40 (0.8x0.25x6) | m³ |  | 1.20 |  |
| 5.5 | Procurement, transportation and installation of PVC pipes F75 for draining water from the tap to the nearest sewer manhole | m1 |  | 6.00 |  |
| 5.6 | Manual backfilling of the trench with earth from the excavated material | m3 |  | 6.00 |  |
| 5.7 | Manual excavation of a trench for water supply (from F20 to the sprinklers), for placing a PE hose F20, with dimensions depth 0.30 cm and width 0.30 cm, together with sprinklers, (0.3x0.3x43) | m3 |  | 3.87 |  |
| 5.8 | Procurement, transport and installation of PE hose (F20) for water supply for park irrigation. | m1 |  | 43.00 |  |
| 5.9 | "Procurement, transport and installation of irrigation sprinklers. | piece |  | 11.00 |  |
| 5.10 | Manual backfilling of the trench with earth from the excavated material | m3 |  | 3.00 |  |
| 5.11 | Procurement, transport and installation of a faucet stand from prefabricated parts together with a faucet and all other connecting parts (design under investor wish) | piece |  | 1.00 |  |
| 5.12 | Examination of the network | Flat rate |  | 1.00 |  |
|  | VI. LIGHTING |  |  |  |  |
| 6.1 | Excavation of holes for making foundations with dimensions 80x80x80 cm together with shoring and concreting with concrete MB 30, together with an anchor basket and a plastic pipe F 50 mm for pulling in cables | piece |  | 3.00 |  |
| 6.2 | Supply, delivery and installation of a lamp for street lighting, mounted on the top of the pole, type DISANO, 1570 CLIMA - LED 3000K CRI 70 13W CLD GRAPHITE or similar, with the same photometric characteristics. | piece |  | 3.00 |  |
| 6.3 | Excavation of a trench for laying a cable for powering the candelabra, with a depth of 80 cm and a width of 40 cm, burying it and compacting it in layers after laying the cable (according to the method of installation of all elements) and transporting the excess earth to a suitable location | m1 |  | 20.00 |  |
| 6.4 | Procurement, delivery and placing of sand in the excavated trench 40 cm wide in two layers of 10 cm each, one before laying the cable and one layer after laying the cable | m1 |  | 20.00 |  |
| 6.5 | Procurement, delivery and installation in an excavated trench of NYY-J 5x4 mm2 cable, placed in a suitable ribbed plastic hose for its mechanical protection | m1 |  | 20.00 |  |
| 6.6 | Supply, delivery and installation in an excavated trench of galvanized strip FeZn 30x3 mm | m1 |  | 20 |  |
| 6.7 | Supply, delivery and installation of cross piece for galvanized strip | Piece |  | 10.00 |  |
| 6.8 | Supply, delivery and installation of a cable guard in an excavated trench | m1 |  | 20.00 |  |
| 6.9 | Procurement, delivery and installation in a dug trench of a red warning tape with the inscription HIGH VOLTAGE, in the dug trench. | m1 |  | 20.00 |  |
| 6.10 | Examination of the existing street lighting installation, finding the old power line and ground and connecting to the appropriate elements of the new power line and the ground for the candelabra | lump sum |  | 1.00 |  |
| 6.11 | Procurement, delivery, installation and connection of electrical installation on a steel decorative pole, with a height of H-5 m. The pole is two-segmented with smoke: Ø133 /thickness 4mm in the base part and a height of 4 m, and a finished part with a dimension of Ø88.9/ thickness 3.2 mm and height of 2 m. The colour should be resistant to UV rays. Equipped with an IR 54 junction box for a maximum of three cables, insulation class II, with transparent cover, with DII/E14 fusible link, dimensions 274x90x74 mm and NYM cable 3x1.5 mm2. For the pillars, a static calculation for a wind speed of 130 km/h and a horizontal deflection of max. 45 mm should be submitted. 10 year warranty on poles against corrosion. | piece |  | 3.00 |  |

RECAPITULATION

Lot 1.: Creation of additional museum spaces for cultural and educational activities in City museum of Kriva Palanka.

|  | VOLUME 4.2.2 — SUMMARY |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | RECAPITULATION |  |  |  |  |
|  |  |  | Without VAT | VAT amount | Total Amount EUR |
| I | PREPARATORY WORKS |  |  |  |  |
| II | GROUND FLOOR WORKS |  |  |  |  |
| III | REINFORCED CONCRETE WORKS |  |  |  |  |
| IV | GROUND WORKS AND URBAN EQUIPMENT |  |  |  |  |
| V | PLUMBING AND SEWERAGE |  |  |  |  |
| VI | LIGHTING |  |  |  |  |
|  | Total without VAT |  |  |  |  |
|  | VAT amount |  |  |  |  |
|  | TOTAL PRICE included VAT Lot.1 |  |  |  |  |