VOLUME 4.2

FINANCIAL OFFER TEMPLATES

Lot 2: Construction of an open-air museum in village of Gradec in Kriva Palanka

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

<The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions:

For example: through the measurement of the percentage of works carried out in relation to the firm quantities of each item of the breakdown of the lump-sum price and by applying that percentage to the lump-sum price of the related item>

For example: by the tranches specified in Article 49(1)(a) of the special conditions>.

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

|  | Lot. 2 CONSTRUCTIONS OF AN OPEN-AIR MUSEUM IN VILLAGE OF GRADEC IN KRIVA PALANKA |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| I | GROUND FLOOR ARRANGEMENT (C2) of construction plot KP 3102, KP 3101 и KP 1388/3 on location "Old School" in v. Gradec KO Gradec, Municipality of Kriva Palanka |  |  |  |  |  |  |
| Item | DESCRIPTION OF ACTIVITIES |  |  |  |  |  |  |
| 1 | GROUND FLOOR (C2) |  |  |  |  |  |  |
|  | NOTE: During the execution of the works, there should be no presence of water from any source in the excavations/pits (groundwater, flooding, stormwater, etc.). The works are performed in dry conditions with the exception of atmospheric influences. The quantities for earthworks are calculated in accordance with the project documentation. Quantities are calculated for embedded material. Since a report for geomechanically works has not been prepared, it is necessary to prepare it and accept the changes in the descriptions in accordance with it. Prices should be given according to the maximum possible category of land. Any deviation and change to be agreed with the investor/supervisory authority. To check the foundation beams, beams and columns and, if necessary, to increase their dimensions. |  |  |  |  |  |  |
|  | Ground floor works |  |  |  |  |  |  |
|  | Note: The entire amount of excavated soil, which is not used for filling, should be taken to a landfill at a distance of 2 km. |  |  |  |  |  |  |
|  |  | unite | Unit price |  | Firm quantities |  | Lump-sum price |
| 1.1 | Planning and clearing the terrain by marking and staking the paths, stairs and ramps according to elevations of the locational urban part with a surveyor and geometric parameters | m2 |  |  | 2,931.3 |  |  |
| 1.2 | Excavation of earth I-II category, on a large-scale machine excavation 80% with manual digging 20%, for paths, ramp and stairs on the site. | m3 |  |  | 416.93 |  |  |
| 1.3 | Excavation of earth I-II category, on a wide scale machine excavation 80% with manual digging 20%, for humus on site. | m3 |  |  | 173.10 |  |  |
| 1.4 | Procurement, transport and backfilling by tamping a buffer with a thickness of d=20-30cm, where the minimum density module of the final buffer layer should be Mv>45MPa and the minimum density ϒ=21.00kN/m³, under ramps, stairs and paths. Under stairs and ramps 110.5x0.30x1.20 Under paths 344x0.20x1.10 | m3 |  |  | 115.46 |  |  |
| 1.5 | Loading, transport, removal and unloading of land that is surplus from the excavations to a landfill at a distance of 10 km. The quantity has been increased by 20% due to the looseness of the land. | m3 |  |  | 708.0 |  |  |
|  | Concrete works Pathways, stairs and ramps |  |  |  |  |  |  |
|  | "NOTE: During the performance of the concrete works, a special test is carried out on the concrete that is being installed with test cubes, taken on site, and in accordance with the Law on Building (Article 77), All positions have procurement, transport and construction of concrete with use. of vibrator, necessary formwork and scaffolding, care and maintenance of concrete with concreting and fabrication of all should be opened for installation installations. Concrete positions are calculated without deducting the volume of reinforcement, anchors, penetrations, openings, pockets and similar voids in the concrete of less than 1m3. During concreting, foresee all penetrations from installations. The concreting positions also include the assembly and disassembly of the necessary scaffolding. Before concreting, leave all the necessary openings for installations according to the projects of the phases and perform them according to technical regulations for the appropriate type of work. When concreting concretes that are in the field as well as concretes exposed to humidity, a waterproofing additive is necessary. The concrete should be ready in the concrete mixer. Reinforcement should be carried out according to static calculations and reinforcement details and it should be prepared in a reinforcement plant." To make an appropriate soil test, with a geomechanics who will receive the construction pit and, if necessary, prepare a geomechanically report. Before concreting, all foundations should be reworked as necessary depending on the soil (rocky or earthy). |  |  |  |  |  |  |
| 1.6 | Fabrication, transportation and installation of Concrete, MB 30, by vibrating AB ramps with a thickness of 10 cm together with cast sanded terrazzo and together with the necessary formwork. | m3 |  |  | 8.69 |  |  |
| 1.7 | Production, transportation and installation of Concrete, MB 30, by vibrating AB paths with a thickness of 10 cm together with cast sanded terrazzo and together with the necessary formwork. | m3 |  |  | 34.40 |  |  |
| 1.8 | Production, transportation and installation of Concrete MB 30, by vibrating AB stairs with a thickness of 12 cm together with the necessary formwork. | m3 |  |  | 5.76 |  |  |
|  | Reinforcement works Pathways, stairs and ramps |  |  |  |  |  |  |
| 1.9 | Procurement, transport, straightening, cutting, bending, tying and installation of reinforcement at ramps - ramp north | kg |  |  | 312.70 |  |  |
| 1.10 | Procurement, transport, straightening, cutting, bending, tying and installation of reinforcement in tracks | kg |  |  | 1,250.78 |  |  |
| 1.11 | Procurement, transport, straightening, cutting, bending, tying and installation of reinforcement for stairs | kg |  |  | 158.77 |  |  |
|  | Floors - Staircase, stairs and ramps |  |  |  |  |  |  |
| 1.12 | Procurement, transport and installation - gluing of stone slabs d=3cm on stairs | m2 |  |  | 35.37 |  |  |
|  | Benches, baskets and fountains |  |  |  |  |  |  |
| 1.13 | Procurement, transport and installation of typical park fountains for drinking water, according to the developer's choice. The taps should have a built-in valve for stopping and releasing the water. | peace |  |  | 3 |  |  |
| 1.14 | Procurement, transportation and installation of waste baskets made of wooden boards, arranged in a circle, supported by two rings, made of metal sheet 40/4 mm. (bottom and top) on a metal box profile. The boards should be fixed to the metal sheets. The cross-section of the boards is 5/2.5/40cm. together with varnishing with colorless varnish, the diameter of the ring is 40 cm. together with miniaturization and oil painting. At the bottom of the basket, place a perforated metal plate with a thickness of 1 mm. Trash cans should be fixed on AB foundation 40/40/25 cm. The concrete foundation as well as their fixing should be part of this position. | peace |  |  | 6 |  |  |
|  | Curbers |  |  |  |  |  |  |
| 1.15 | Supply, transport and installation of concrete curbs 7/20/50 cm of MB 40 placed on a concrete base of MB 20 (park curb) (Concrete base is part of this position). | m1 |  |  | 200.00 |  |  |
|  | Greenеry |  |  |  |  |  |  |
| 1.16 | Greening of the areas in the ground floor with the following positions: |  |  |  |  |  |  |
|  | mound of humus | m3 |  |  | 98 |  |  |
|  | greening - grass cropping | m2 |  |  | 650 |  |  |
| 1.17 | Procurement, transport and sowing of dendrological plant species defined by the designer. | m2 |  |  |  |  |  |
| a) | Pinus Nigra Black Pine | peace |  |  | 4 |  |  |
| b) | (Prunus laurocerasus otto luyken) Shrubs | peace |  |  | 43 |  |  |
| 3 | CHILDREN PLAYGROUND (C2) | unite | Unit price | Firm quantities |  | Lump-sum price |  |
|  | Toys - props |  |  |  |  |  |  |
| 3.1 | Procurement, transport and installation of a children's swing with one inclusive and one ordinary seat made of wooden/metal construction with chains and rubberized seats. The material from which the wooden construction is made is pine wood with a moisture content of 8-12%, double-impregnated and coated with a glaze with UV protection and protection from external influences, environmentally friendly. The supporting structure is made of a 11x9cm beam, and the upper supporting beam is made of a 12x10cm metal profile. After manufacturing, the metal parts are first galvanized, and then they are covered with protective paint with UV protection and protection from external influences. The single seat is of stainless-steel construction covered with a rubber pad and is EN 1176 and TUV certified, and the chains are made of stainless steel. While the other seat is for children with special needs it has a scratch-resistant steel insert, large triangle hardware for stability, riveted plates and tie-down straps. The swing arms are double-jointed and made of stainless steel and silent bearings in a closed housing. Dimensions: 300x200x220cm with two seats. 1 squared | peace |  | 1 |  |  |  |
| 3.2 | "Procurement, transport and installation of a small wooden swing." - The material from which the wooden structure is made is pine wood with a humidity of 8-12%, double impregnated and coated with a stain with UV protection and protection from external influences, environmentally friendly. The supporting structure is made of a beam 11x9cm. - After manufacturing, the metal parts are first galvanized, and then they are covered with protective UV paint protection and protection from external influences. Dimensions: 250x60x60cm with two seats and handles" 2 squared | peace |  | 1 |  |  |  |
| 3.3 | Procurement, transportation and installation of a platform made of wooden construction with metal fences and handrails with a slide. The material from which the wooden construction is made is pine wood with a moisture content of 8-12%, double-impregnated and coated with a glaze with UV protection and protection from external influences, environmentally friendly. The supporting structure is made of a 9x9cm beam, and the floor is 4cm thick. After manufacturing, the metal parts are first galvanized, and then they are covered with protective paint with UV protection and protection from external influences. The polyester parts are UV protected, weather resistant and certified according to EN 1176-3. Platform height: 210cm; Dimensions: 100x100x400cm with slide for children up to 12 years old. made of polyester, metal handrails and railing, ladder and roof. | peace |  | 1 |  |  |  |
| 3.4 | Purchase, transport and installation of children's props with a fader Dimensions 140x50x90cm. 4а squared | peace |  | 1 |  |  |  |
| 3.5 | Purchase, transport and installation of children's inclusive props with fader Dimensions 65x56x54cm. 4б squared | peace |  | 1 |  |  |  |
|  | Benches, baskets and fountains |  |  |  |  |  |  |
| 3.6 | Procurement, transport and installation of benches for sitting (the benches must be anchored on two reinforced concrete foundations with dimensions of 20x45 cm and a depth of 25 cm). The benches for sitting should be made of metal construction planks of box profiles. The wood must be dry with a humidity of 14%, finely processed and milled, protected from pests with biocide and UV protection, finely painted and varnished according to the colour of the investor's choice. The iron construction is painted and protected from corrosion. The concrete foundations as well as their fixing should be part of this position. The wood should be weather-resistant - oak or beech. The benches should have dimensions of 200/45 cm and a backrest with a height of 45-55 cm. The benches should be made according to the attached detail. | peace |  | 3 |  |  |  |
| 3.7 | Procurement, transport and installation of typical park fountains for drinking water, according to the developer's choice. The taps should have a built-in valve for stopping and releasing the water. The faucets should be made according to the manufacturer's specifications. | peace |  | 1 |  |  |  |
| 3.8 | Procurement, transportation and installation of waste baskets made of wooden boards, arranged in a circle, supported by two rings, made of metal sheet 40/4 mm. (bottom and top) on a metal box profile. The boards should be fixed to the metal sheets. The cross-section of the boards is 5/2.5/40cm. together with varnishing with colourless varnish, the diameter of the ring is 40 cm. together with miniaturization and oil painting. At the bottom of the basket, place a perforated metal plate with a thickness of 1 mm. Trash cans should be fixed on AB foundation 40/40/25 cm. The concrete foundation as well as their fixing should be part of this position. | peace |  | 3 |  |  |  |
|  | Ground floor works - Children playground |  |  |  |  |  |  |
|  | NOTE: During the execution of the works, there should be no presence of water from any source in the excavations/pits (groundwater, flooding, stormwater, etc.). The works are performed in dry conditions with the exception of atmospheric influences. The quantities for earthworks are calculated in accordance with the project documentation. Quantities are calculated for embedded material. Since a report for geomechanically works has not been prepared, it is necessary to prepare it and accept the changes in the descriptions in accordance with it. Prices should be given according to the maximum possible category of land. Any deviation and change to be agreed with the investor/supervisory authority. To check the foundation beams, beams and columns and, if necessary, to increase their dimensions. |  |  |  |  |  |  |
| 3.9 | Procurement, transport and Backfilling by tamping a buffer with a thickness of d=20cm, where the minimum density module of the final buffer layer should be Mv>45MPa and the minimum density ϒ=21.00kN/m³, at the playground and central plateau. around toys / under toys / central plateau | m3 |  | 48.80 |  |  |  |
|  | Concrete works - Children's playground |  |  |  |  |  |  |
|  | "NOTE: When performing the concrete works, it is mandatory to test the concrete that is being installed with trial cubes, taken on site, in accordance with the Law on Construction (Article 77). All positions include procurement, transport and installation of concrete using of a vibrator, necessary formwork and scaffolding, care and maintenance of the concrete after concreting and making of all the necessary openings for the passage of installations. Concrete positions are calculated without deducting the volume of reinforcement, anchors, penetrations, openings, pockets and similar voids in the concrete of less than 1m3. During concreting, foresee all penetrations from installations. The concreting positions also include the assembly and disassembly of the necessary scaffolding. Before concreting, leave all the necessary openings for installations according to the projects of the phases and perform them according to technical regulations for the appropriate type of work. When concreting the concretes that are in the field as well as the concretes exposed to humidity, an additive for waterproofing is necessary. The concrete should be ready in the concrete mixer. Reinforcement should be carried out according to static calculations and reinforcement details and it should be prepared in a reinforcement plant." |  |  |  |  |  |  |
| 3.10 | Fabrication, transport and installation of concrete, MB 30, with vibration at AB slab under toys with a thickness of 10 cm together with the necessary formwork. | m3 |  | 6 |  |  |  |
|  | Reinforcement works - Children's playground |  |  |  |  |  |  |
| 3.11 | Procurement, transportation, straightening, cutting, bending, tying and installation of smooth and ribbed reinforcement for a slab under toys | kg |  | 295.92 |  |  |  |
|  | Floors - Children's playground |  |  |  |  |  |  |
| 3.12 | Procurement, transportation and installation of a protective floor made of rubber panels 50x50x2.5cm, specially intended for children's playgrounds. The floor should be made in accordance with the manufacturer's specifications. | m2 |  | 60.00 |  |  |  |
| 4 | PARKING SPACE (C2) |  |  |  |  |  |  |
|  | Notes: During the execution of the works, there should be no presence of water from any source in the excavations/pits (groundwater, flooding, stormwater, etc.). The works are performed in dry conditions with the exception of atmospheric influences. The quantities for earthworks are calculated in accordance with the project documentation. Quantities are calculated for embedded material. Since a report for geomechanically works has not been prepared, it is necessary to prepare it and accept the changes in the descriptions in accordance with it. Prices should be given according to the maximum possible category of land. Any deviation and change to be agreed with the investor/supervisory authority. To check the foundation beams, beams and columns and, if necessary, to increase their dimensions. To carry out the dimensioning of the road construction with the inspection of the road engineer. and, if necessary, create a project for a parking lot. |  |  |  |  |  |  |
|  | Lower part |  |  |  |  |  |  |
| 4.1 | Excavation of soil I-II category, on a large scale machine excavation 80% with manual digging 20%, with different heights near the parking lot together with the removal of excess soil to a landfill 10 km away. to the parking lot level under the entire parking lot (20+30+5+7cm) | m3 |  | 859.60 |  |  |  |
| 4.2 | Construction of a subsoil for a parking space | m2 |  | 580.00 |  |  |  |
| 4.3 | Procurement, transportation and production of an improved bed under the parking lot with crushed stone material (gravel) d=30 cm, with compaction up to 100%, as well as achieving a compression modulus of 80 Mpa. | m3 |  | 174.00 |  |  |  |
|  | Upper part |  |  |  |  |  |  |
| 4.4 | Procurement, transportation and installation of buffer material from crushed stone with maximum grains of 63mm, for under parking lot d=20cm, with compaction up to 100% as well as achieving a compressibility module of 80 Mpa. | м3 |  | 116.00 |  |  |  |
| 4.5 | Procurement, transport and installation of AB11 d=5cm | м2 |  | 580.00 |  |  |  |
| 4.6 | Procurement, transport and installation of BNS 22SA d=7cm | м2 |  | 580.00 |  |  |  |
| 4.7 | Spraying the layer between BNS and AB with an unstable cationic emulsion of 0.3-0.5 kg/m2 | м2 |  | 580.00 |  |  |  |
| 4.8 | Procurement, transportation and installation of concrete street curbs 18/24cm MB40 on a base of MB20 with grouting in everything according to the manufacturer's details. The price should include the base of MB20. | м1 |  | 137.00 |  |  |  |
|  | Ground floor works |  |  |  |  |  |  |
| 4.9 | Excavation of earth I-II category, on a wide scale machine excavation 80% with manual digging 20%, on a narrow scale, from I-II category with different heights of stairs and ramps to unit 1 along with removal of excess earth to a landfill on 10 km at ramp 907 to 911 eastern stairs - from elevation 907.30 to 911 between east and west steps western stairs - from elevation 907 to 911 near the path | m3 |  | 658.33 |  |  |  |
| 4.10 | Procurement, transport and Backfilling by tamping a buffer with a thickness of d=20cm, where the minimum density module of the final buffer layer should be Mv>45MPa and the minimum density ϒ=21.00kN/m³, under ramps. ramp 0 - slab ramp 1 - slab ramp 2 - slab ramp 3 - slab ramp 4 - slab | m3 |  | 26.80 |  |  |  |
| 4.11 | Procurement, transport and Backfilling by tamping a buffer with a thickness of d=30cm, where the minimum density module of the final buffer layer should be Mv>45MPa and the minimum density ϒ=21.00kN/m³, under foundation strips Foundation strips 40/40 cm Foundation strips 80/40 cm" | m3 |  | 44.34 |  |  |  |
| 4.12 | Procurement, transport and Backfilling by tamping a buffer with a thickness of d=20cm, where the minimum density module of the final buffer layer should be Mv>45MPa and the minimum density ϒ=21.00kN/m³, for a path | m3 |  | 38.00 |  |  |  |
| 4.13 | Procurement, transport and Backfilling by tamping a buffer with a thickness of d=30cm, where the minimum density module of the final buffer layer should be Mv>45MPa and the minimum density ϒ=21.00kN/m³, under the stairs to the parking lot. |  |  |  |  |  |  |
|  | east stairs to car park | m3 |  | 8.40 |  |  |  |
|  | west steps to car park | m3 |  | 13.20 |  |  |  |
|  | Concrete works - Parking space |  |  |  |  |  |  |
|  | NOTE: When performing the concrete works, it is mandatory to test the concrete that is being installed with trial cubes, taken on site, in accordance with the Law on Construction (Article 77). All positions include procurement, transport and installation of concrete using of a vibrator, necessary formwork and scaffolding, care and maintenance of the concrete after concreting and making of all the necessary openings for the passage of installations. Concrete positions are calculated without deducting the volume of reinforcement, anchors, penetrations, openings, pockets and similar voids in the concrete of less than 1m3. During concreting, foresee all penetrations from installations. The concreting positions include the assembly and disassembly of the necessary scaffolding. Before concreting, leave all the necessary openings for installations according to the projects of the phases and perform them according to technical regulations for the appropriate type of work. When concreting the concretes that are in the field as well as the concretes exposed to humidity, an additive for waterproofing is necessary. The concrete should be ready in the concrete mixer. Reinforcement should be carried out according to static calculations and reinforcement details and it should be prepared in a reinforcement plant. |  |  |  |  |  |  |
| 4.14 | Production, transport and installation of concrete, MB 30, with vibration at AB ramps at the parking lot with a thickness of 14 cm together with cast sanded terrazzo d=5 cm and together with the necessary formwork. The ramps should be executed according to detail. ramp 0 - slab ramp 1 - slab ramp 2 - slab ramp 3 - slab ramp 4 - slab | m3 |  | 18.76 |  |  |  |
| 4.15 | Production, transport and installation of concrete, MB 30, with vibration for AB foundations and retaining walls for a ramp at a parking lot with MB30 together with the necessary formwork foundation strips 40/40 cm foundation strips 80/40 cm retaining walls 1 retaining walls 2 | m3 |  | 35.21 |  |  |  |
| 4.16 | Fabrication, transportation and installation of concrete, MB 30, by vibrating AB track 10 cm thick with MB30 with MB30 along with cast sanded terrazzo and along with necessary formwork. | m3 |  | 19.00 |  |  |  |
| 4.17 | Concreting of AB stairs with a thickness of 12 cm with MB30 together with the necessary formwork. |  |  |  |  |  |  |
|  | east stairs to car park | m3 |  | 3.70 |  |  |  |
|  | west steps to car park | m3 |  | 7.13 |  |  |  |
|  | Reinforcement works - Parking space |  |  |  |  |  |  |
| 4.18 | Procurement, transportation, straightening, cutting, bending, tying and installation of smooth and ribbed reinforcement at the ramp to the parking lot ramp 0 - slab ramp 1 - slab ramp 2 - slab ramp 3 - slab ramp 4 - slab | kg |  | 660.89 |  |  |  |
| 4.19 | Procurement, transportation, straightening, cutting, bending, tying and installation of smooth and ribbed reinforcement for AB foundations and retaining walls from a parking ramp foundation strips 40/40 cm foundation strips 80/40 cm retaining walls 1 retaining walls 2 | kg |  | 1,581.82 |  |  |  |
| 4.20 | Procurement, transportation, straightening, cutting, bending, tying and installation of smooth and ribbed reinforcement in the path | kg |  | 690.84 |  |  |  |
| 4.21 | Procurement, transport, cutting and installation of reinforcement for stairs |  |  |  |  |  |  |
|  | east stairs to car park | kg |  | 207.14 |  |  |  |
|  | west steps to car park | kg |  | 413.96 |  |  |  |
|  | Ground floor works - Parking space |  |  |  |  |  |  |
| 4.22 | Procurement, transport and installation - gluing of stone slabs d=3cm on stairs. The price should include everything for the final completion of the position. |  |  |  |  |  |  |
|  | east stairs to car park | m2 |  | 22.80 |  |  |  |
|  | west steps to car park | m2 |  | 33.77 |  |  |  |
| 4.23 | Supply, transport and installation of concrete curbs 7/30/50 cm of MB 40 placed on a concrete base of MB 20 (park curb) (Concrete base is part of this position). | m1 |  | 100.00 |  |  |  |
| 4.24 | Procurement and installation of external fences with a height of 90 cm for external ramps for people with special needs, made of steel handrail F40, columns F30 at the required distance and horizontals of profiles F25 in all according to detail. | m1 |  | 130.00 |  |  |  |
| 4.25 | Procurement, installation of a sandbox with equipment according to the fire, explosion and hazardous materials protection report at the parking lot | peace |  | 1 |  |  |  |
|  | RECAPITULATION - I |  |  |  |  |  |  |
|  | I GROUND FLOOR ARRANGEMENT of construction plot KP 3102, KP 3101 и KP 1388/3 on location "Old School" in v. Gradec KO Gradec, Municipality of Kriva Palanka |  | Without VAT | VAT amount |  | Total Amount EUR |  |
| 1 | Ground floor (C2) |  |  |  |  |  |  |
| 3 | Children playground (C2) |  |  |  |  |  |  |
| 4 | Parking space (C2) |  |  |  |  |  |  |
|  | Total without VAT |  |  |  |  |  |  |
|  | VAT amount |  |  |  |  |  |  |
|  | TOTAL - I |  |  |  |  |  |  |
| II | PERFORMING AN ELECTRICAL INSTALATION |  |  |  |  |  |  |
| 1 | To form a distribution cabinet RO is preparing a single-pole scheme, for outdoor installation. The door should be locked with a key and the front part should be opaque. (PT should be in accordance with the following standards EN 60439-3 class 3, EN 60695, EN 60529 IP 65, EN 62262 IK 070). The following el. equipment from a reputable manufacturer should be installed in the cabinet | unite | Unit price | Firm quantities |  | Lump-sum price |  |
|  | 1 pair. Automatic switch AS125A/R63A |  |  |  |  |  |  |
|  | 2 peace CNM switch |  |  |  |  |  |  |
|  | 1 peace Comb clutch 10-51-u |  |  |  |  |  |  |
|  | 1 peace Comb clutch 10-53-u |  |  |  |  |  |  |
|  | 1 peace Trout 26 |  |  |  |  |  |  |
|  | 1 peace Knife fuse NV 63A |  |  |  |  |  |  |
|  | Automatic fuses: |  |  |  |  |  |  |
|  | 3 pairs B10A, 3P |  |  |  |  |  |  |
|  | 3 pairs B10A, 1P |  |  |  |  |  |  |
|  | 2 pairs B 6A, 1P |  |  |  |  |  |  |
|  | 3 pairs B 16A, 1P reserve |  |  |  |  |  |  |
|  | 1 pair B 10A, 1P reserve |  |  |  |  |  |  |
|  | Junction collectors: 5 peace’s (L1, L2, L3, PE, N0 other small material (various terminals, inscription plates, etc) |  |  |  |  |  |  |
|  | The board should be performed in all according to a single-pole scheme with a 20% reserve | peace |  | 1 |  |  |  |
| 2 | H - Street lighting fixture in IP66 design, according to IK 08 standards, mounted on a pole on a console type: Schrack RUBINO mounted on a pole h=6.0m LED 36W, 4350lm, 740 gray, complete. To be manufactured in accordance with the European standard EN60598-CEI34-21 and EN60529. | peace |  | 9 |  |  |  |
| 3 | I - Decorative Park lighting fixture in IP66 design, according to IK 08 standards, mounted on a pole on a console type: Schrack PARC II mounted on a pole h=3.5m LED 25W, 3000lm, 830, gray, complete. To be manufactured in accordance with the European standard EN60598-CEI34-21 and EN60529. | peace |  | 31 |  |  |  |
| 4 | J - Decorative Park lighting fixture in IP44 design, ground mounted: Schrack SLV IMPERI 50 5W, 320lm, 4000K, anthracite, complete set. To be manufactured in accordance with European standards EN60598-CEI34-21 and EN60529. | peace |  | 11 |  |  |  |
| 5 | Cable laid in an earthen trench |  |  |  |  |  |  |
|  | -NYY-J-3x4mm2 – to lights J and I | m |  | 400 |  |  |  |
|  | -NYY-J-5x6mm2 – to lights I and H | m |  | 550 |  |  |  |
| 6 | Excavation of category III soil for candelabra (column) foundations with foundation dimensions |  |  |  |  |  |  |
|  | - 0,7x0,7x0,8 m = 0,392m3 x 9 | m3 |  | 3.55 |  |  |  |
|  | - 0,7x0,7x0,8 m = 0,392m3 x 31 | m3 |  | 12.15 |  |  |  |
| 7 | Excavation of category III soil for laying cables and grounding tape, with backfilling, compaction and ratio of the remaining soil to dimensions |  |  |  |  |  |  |
|  | - 0.4x0,8x600м | m3 |  | 192 |  |  |  |
| 8 | Spreading a layer of sand 10cm thick under and above the laid cables: |  |  |  |  |  |  |
|  | - 0.4x0,2x600м | m3 |  | 48 |  |  |  |
| 9 | Delivery and installation of a standard concrete foundation with concrete grade MB35 for placing 6m candelabra, with built-in anchor plate and pipe Ф76 mm for cable entry and exit (according to detail) | peace |  | 9 |  |  |  |
| 10 | Delivery and installation of a standard concrete foundation with concrete grade MB35 for placing 4m candelabra, with built-in anchor plate and pipe Ф76 mm for cable entry and exit (according to detail) | peace |  | 31 |  |  |  |
| 11 | Coating the FeZn 30x4mm grounding strip with hot bitumen 30cm to the exit from the ground and to the junction of the pole, as well as on the cross piece at the strip's breakaway into the ground | kg |  | 8 |  |  |  |
| 12 | Steel pole 6m for electric lighting, miniaturized and painted silver with a switchboard in the pole itself with one automatic fuse of 10A, terminals for cable entry and exit and NYY-J-3x2.5mm conductors from the board to the lamp with a length of 7m | peace |  | 9 |  |  |  |
| 13 | Steel decorative pole 3,8m for electric lighting, miniaturized and painted silver with a switchboard in the pole itself with one automatic fuse of 10A, terminals for cable entry and exit and NYY-J-3x2.5mm conductors from the board to the lamp with a length of 4m | peace |  | 31 |  |  |  |
| 14 | Installation of protective covers (guards) and a warning tape over the cables in the trench | m |  | 600 |  |  |  |
| 15 | Connecting the ends of the cables in distribution boards in the poles for cable lighting slippers capable of work | peace |  | 160 |  |  |  |
| 16 | Grounding tape FeZn 30h4 mm laid in an already dug trench, with the power lines | m |  | 700 |  |  |  |
| 17 | Procurement and installation of a photoprobe | peace |  | 1 |  |  |  |
| 18 | Procurement and installation of a photoprobe -PP00-2x1,2mm2 | m |  | 30 |  |  |  |
| 19 | Procurement and installation of rigid protective pipe F100mm for passing cables under the street | m |  | 30 |  |  |  |
| 20 | Procurement and issuance of certification documentation required for technical acceptance of the facility | Lump sum |  | 1 |  |  |  |
|  | RECAPITULATION - II |  |  |  |  |  |  |
|  | II – Performing an Electrical installation |  | Without VAT | VAT amount |  | Total Amount EUR |  |
|  | Total without VAT |  |  |  |  |  |  |
|  | VAT amount |  |  |  |  |  |  |
|  | TOTAL - II |  |  |  |  |  |  |
| III | SANITARY PLUMBING AND ATMOSPHERIC SEWAGE |  |  |  |  |  |  |
|  | - OUTDOOR INSTALLATIONS SANITARY AND FIRE PLUMBING | unite | Unit price | Firm quantities |  | Lump-sum price |  |
| 1 | Marking and staking out the routes of the canal ditches | m1 |  | 130 |  |  |  |
| 2 | Excavation ground III floor. Narrow scope by providing the trench for laying the pipes. 130.00 x 0.80 x 1.00 = | m3 |  | 104 |  |  |  |
| 3 | Planning the bottom of the trench with an accuracy of + 2 cm and spreading fine sand d=10 cm. 130.00 x 0.80 x 0.10 = | m3 |  | 10.40 |  |  |  |
| 4 | Backfilling of the trench with the excavated material after installation and inspection of the installation and compaction in layers of 20-30 cm. With compactors of 20-30 kg. 104.00 x 0.85 = | m3 |  | 88.40 |  |  |  |
| 5 | Transport of excess material with tipper trucks at a distance of up to 10 km. And with manual loading 104.00 x 0.15= | m3 |  | 15.60 |  |  |  |
| 6 | Excavation of land III category in a narrow scope for a water measuring shaft with the provision of the pit 4.00 x 2.00 x 1.30 = | m3 |  | 10.40 |  |  |  |
| 7 | Concreting of a water meter shaft with MB 30 in smooth double-sided formwork with a thickness of 20 cm on the walls and slabs. And reinforcement with mesh reinforcement Q221 and installation of risers f18 mm at 30 cm. | peace |  | 1 |  |  |  |
| 8 | Procurement, transportation and installation of reinforcements and phases in a water meter shaft complete with joint material. |  |  |  |  |  |  |
|  | - oval stoppers F80 | peace |  | 2 |  |  |  |
|  | - assembly disassembly piece F80 | peace |  | 1 |  |  |  |
|  | - filter F 80 | peace |  | 1 |  |  |  |
|  | - drain valve F5/4" | peace |  | 1 |  |  |  |
|  | - parts | kg |  | 117 |  |  |  |
| 9 | Procurement, transportation and installation of a cast iron cover F600 mm for a water meter manhole |  |  |  |  |  |  |
|  | tough guy | peace |  | 1 |  |  |  |
| 10 | Procurement, transport and installation of a combined water meter in accordance with the following recommendations and standards: Law on units of measurement and measures and all secondary acts arising from it ISO 4064-1 and the documents and recommendations of the international organization for metrology OLIM, n 49 to have impulse output and accuracy class C, and for combined industrial accuracy class C F80/20 | peace |  | 1 |  |  |  |
| 11 | Making a connection to an existing water pipe | peace |  | 1 |  |  |  |
| 12 | Procurement, transportation and installation of HDPE-PE 100 polyethylene pipes for water supply for 10 bars. In the order, take into account all the necessary joint material. |  |  |  |  |  |  |
|  | - F100 | m1 |  | 50 |  |  |  |
| 13 | Supply, transport and installation of reinforcement according to specification | kg |  | 80 |  |  |  |
| 14 | Supply, transport and installation of cast iron stoppers complete with installation kit and round stopper cap. Calculation from a cast iron shutter kit mounted. |  |  |  |  |  |  |
|  | - F 50 | peace |  | 2 |  |  |  |
|  | - F100 | peace |  | 1 |  |  |  |
| 18 | Excavation of the ground III floor for a water supply shaft with provision of the pit 1.20 x 1.20 x 1.20 x 4 | m3 |  | 7 |  |  |  |
| 19 | Concreting of a water manhole with MB 20 with formwork with a wall thickness of up to 20 cm. And armature f8. Internal walls plastered with cement mortar 1:2 to a black gloss and installation of F16 studs. Calculation of a set of concreted water manholes (according to detail) | peace |  | 4 |  |  |  |
| 20 | Procurement, transport and installation of a cast iron cover for a water manhole | peace |  | 4 |  |  |  |
| 21 | Procurement, transportation and installation of polypropylene pipes for cold water complete with fittings and joint material. Calculation of 1 m1 installed pipe. |  |  |  |  |  |  |
|  | DN 25 (3/4“) | m1 |  | 12 |  |  |  |
|  | DN 32 (1“) | m1 |  | 60 |  |  |  |
|  | DN 40 (5/4“) | m1 |  | 18 |  |  |  |
| 22 | Procurement, transport and installation of sluice valves with a drain in a water manhole |  |  |  |  |  |  |
|  | F 1“ | peace |  | 4 |  |  |  |
| 23 | Testing the plumbing installation. | m1 |  | 130 |  |  |  |
|  | 2. ATMOSPHERIC SEWAGE |  |  |  |  |  |  |
| 1 | Excavation ground III floor. Narrow scope by providing the trench for laying the pipes. 90.00 x 0.80 x 1.00 = | m3 |  | 72 |  |  |  |
| 2 | Planning the bottom of the trench with accuracy + 2cm and spreading fine sand d=10 cm = 90.00 x 0.80 x 0.10 | m3 |  | 7.20 |  |  |  |
| 3 | Backfilling of the trench with excavated material after installation and testing of the installation. The burial of the first layer should be up to 30 cm. Over the top of the pipe with fine soil without stones and shot by hand compaction. The remaining part should be filled with the excavated material in layers of 20-30 cm. With compactors of 20-30 kg. 72.00 x 0.85 = | m3 |  | 61.20 |  |  |  |
| 4 | Transport of excess material with tipper trucks at a distance of up to 10 km. And with manual loading 72.00 x 0.15= | m3 |  | 10.80 |  |  |  |
| 5 | Excavation ground III floor. Narrow scope with provision of the trench for inspection shafts 1.40 x 1.40 x 1.40 x 5 = | m3 |  | 13.70 |  |  |  |
| 6 | Procurement, transportation and installation of typical reinforced concrete inspection manholes F1000 and installation of F20mm ladders. Construction of a kineta in the bottom of the shaft. Calculation from a complete audit manhole. | peace |  | 5 |  |  |  |
| 7 | Procurement, transport and installation of a cast iron cover for inspection manholes sewerage. The lid should be round with a frame visible on the surface and a hinge to prevent theft. - a tough guy | peace |  | 5 |  |  |  |
| 8 | Procurement, transport and installation of plastic PVC sewer pipes for external sewage. In the order, take into account all the necessary joint material. |  |  |  |  |  |  |
|  | - F50 | m1 |  | 12 |  |  |  |
|  | - F100 | m1 |  | 80 |  |  |  |
|  | - F150 | m1 |  | 10 |  |  |  |
|  | RECAPITULATION - III |  |  |  |  |  |  |
|  | III - SANITARY AND FIRE PLUMBING and ATMOSPHERIC SEWAGE |  | Without VAT | VAT amount |  | Total Amount EUR |  |
| 1 | SANITARY AND FIRE PLUMBING |  |  |  |  |  |  |
| 2 | ATMOSPHERIC SEWAGE |  |  |  |  |  |  |
|  | Total without VAT |  |  |  |  |  |  |
|  | VAT amount |  |  |  |  |  |  |
|  | TOTAL - III |  |  |  |  |  |  |

RECAPITULATION

Lot 2: Construction of an open-air museum in village of Gradec, Municipality of Kriva Palanka

|  | RECAPITULATION |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Lot 2: Construction of an open-air museum in village of Gradec, Municipality of Kriva Palanka |  | With Out VAT | VAT amount | Total Amount EUR |
| I | GROUND FLOOR ARRANGEMENT of construction plot KP 3102, KP 3101 и KP 1388/3 on location "Old School" in v. Gradec KO Gradec, Municipality of Kriva Palanka |  |  |  |  |
| II | PERFORMING AN ELECTRICAL INSTALATION |  |  |  |  |
| III | SANITARY AND FIRE PLUMBING and ATMOSPHERIC SEWAGE |  |  |  |  |
|  | Total without VAT |  |  |  |  |
|  | VAT amount |  |  |  |  |
|  | TOTAL – Lot.2 |  |  |  |  |